## Slide 1: Green Ammonia Plant Optimization Model Setup and Flow
5/22 Week

## Slide 2
*Don’t have H2 fuel cell due to short term storage focus

## Slide 3: Model requirement 1: decide capacity of plants
Decide the capacity (how big) of plants
  RE generation capacities
  Battery storage size
  Hydrogen storage size
  Electroyzer capacity
  ASU capacity
  Ammonia plant capacity

## Slide 4: Model requirement 2: decide operations of plants on hourly timescale to meet production demands
Battery storage
  Charge
  Total charge
  Discharge
Hydrogen storage
  Store
  No flow
  Deploy
Electroyzer
  Produce H2
  Don’t produce H2
ASU capacity
  Produce N2
Ammonia plant capacity
  Produce NH3

## Slide 5: Model inputs
RE data
  Capacity factors of wind and solar
Input sheet
  Various technical parameters for system setup (can show the sheet)

## Slide 6: Dummy data run through of model: Energy Generation

## Slide 7: Battery Operations: store when high RE on islanded grid, discharge later in the day

## Slide 8: Hydrogen Production and storage: store with high RE and then deploy when solar drops off

## Slide 9: Ammonia and ASU production relatively constant with H2 direct from EY, then drops off w/ REs

## Slide 10: What the final outcome will look like (will develop it so its more detailed-split OPEX and CAPEX for each tech)

## Slide 11: Next Steps
Clarify plant structure looks correct and pricing mechanisms are reflective
  Single hydrogen/battery storage unit
  No ammonia storage
  Only economies of scale come from EY units which the user will have to input stack sizes